## Plt1Brt
6%
37%
54%
93%

## Plate 1
Effect of Humidity on Replay on Optimum Replay Angle - added glare shield | [5 empty] | Intensity correction |  | 60 | 1.0774
Correct image intensity to 150 mW | [5 empty] | at high angles |  | 65 | 1.2081
Plate 8E/MAA/Fix | "Plate 1" | [6 empty] | 70 | 1.45
1999-08-06 | [7 empty] | 75 | 2.4545
6% |  | 6%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%] | Plot Res and Intensity
148 | 40 |  | 2-1 | 4 | 28 | 28 | 28.3784 |  | 1.051 | 5.5853 | 4 | 28.3784
| 45 |  | 2-3 | 5.04 | 29 | 29 | 29.3919 |  | 1.054 | 5.6856 | 5.04 | 29.3919
| 46 |  | 2-5 | 6.35 | 33 | 33 | 33.4459 |  | 1.048 | 5.4849 | 6.35 | 33.4459
| 47 |  | 2-4 | 5.66 | 38 | 38 | 38.5135 |  | 1.058 | 5.8194 | 5.66 | 38.5135
| 48 |  | 2-2 | 4.49 | 46 | 46 | 46.6216 |  | 1.052 | 5.6187 | 4.49 | 46.6216
| 50 |  | 1-4 | 2.83 | 64 | 64 | 64.8649 |  | 1.056 | 5.7525 | 2.83 | 64.8649
| 55 |  | 1-2 | 2.24 | 128 | 128 | 129.7297 |  | 1.06 | 5.8863 | 2.24 | 129.7297
| 60 |  | 1-1 | 2 | 157 | 169.1518 | 171.4376 |  | 1.061 | 5.9197 | 2 | 171.4376
| 65 |  | 0-5 | 1.59 | 138 | 166.7178 | 168.9707 |  | 1.063 | 5.9866 | 1.59 | 168.9707
| 70 |  | 0-2 | 1.12 | 88 | 127.6 | 129.3243 |  | 1.065 | 6.0535 | 1.12 | 129.3243
| 75 |  | - |  | 32 | 78.544 | 79.6054 |  | 1.067 | 6.1204 |  | 79.6054
| 46 |  | 2-5 | 6.35 | 34 | 34 | 34.4595 |  | 1.071 | 6.2542
1999-08-05
21% |  | 21%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
149 | 40 |  | 1-5 | 3.17 | 27 | 27 | 27.1812 |  | 1.521 | 21.3043 |  |  | 3.17 | 27.1812
| 45 |  | 2-5 | 6.35 | 33 | 33 | 33.2215 |  | 1.523 | 21.3712 |  |  | 6.35 | 33.2215
| 46 |  | 3-1 | 8 | 40 | 40 | 40.2685 |  | 1.519 | 21.2375 |  |  | 8 | 40.2685
| 47 |  | 2-5 | 6.35 | 48 | 48 | 48.3221 |  | 1.524 | 21.4047 |  |  | 6.35 | 48.3221
| 48 |  | 2-3 | 5.04 | 58 | 58 | 58.3893 |  | 1.523 | 21.3712 |  |  | 5.04 | 58.3893
| 50 |  | 1-4 | 2.83 | 82 | 82 | 82.5503 |  | 1.524 | 21.4047 |  |  | 2.83 | 82.5503
| 55 |  | 1-2 | 2.24 | 145 | 145 | 145.9732 |  | 1.524 | 21.4047 |  |  | 2.24 | 145.9732
| 60 |  | 1-1 | 2 | 168 | 181.0032 | 182.218 |  | 1.524 | 21.4047 |  |  | 2 | 182.218
| 65 |  | 0-5 | 1.59 | 136 | 164.3016 | 165.4043 |  | 1.523 | 21.3712 |  |  | 1.59 | 165.4043
| 70 |  | 0-1 | 1 | 77 | 111.65 | 112.3993 |  | 1.523 | 21.3712 |  |  | 1 | 112.3993
| 75 |  | - |  | 27 | 66.2715 | 66.7163 |  | 1.522 | 21.3378 |  |  |  | 66.7163
| 46 |  | 2-6 | 7.13 | 39 | 39 | 39.2617 |  | 1.523 | 21.3712
1999-08-09
26% |  | 26%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
145 | 40 |  | 1-3 | 2.52 | 27 | 27 | 27.931 |  | 1.664 | 26.087 |  |  |  |  | 2.52 | 27.931
| 45 |  | 2-4 | 5.66 | 36 | 36 | 37.2414 |  | 1.664 | 26.087 |  |  |  |  | 5.66 | 37.2414
| 46 |  | 2-5 | 6.35 | 42 | 42 | 43.4483 |  | 1.663 | 26.0535 |  |  |  |  | 6.35 | 43.4483
| 47 |  | 2-4 | 5.66 | 52 | 52 | 53.7931 |  | 1.664 | 26.087 |  |  |  |  | 5.66 | 53.7931
| 48 |  | 2-3 | 5.04 | 63 | 63 | 65.1724 |  | 1.665 | 26.1204 |  |  |  |  | 5.04 | 65.1724
| 50 |  | 1-3 | 2.52 | 89 | 89 | 92.069 |  | 1.664 | 26.087 |  |  |  |  | 2.52 | 92.069
| 55 |  | 1-1 | 2 | 159 | 159 | 164.4828 |  | 1.663 | 26.0535 |  |  |  |  | 2 | 164.4828
| 60 |  | 0-6 | 1.78 | 173 | 186.3902 | 192.8174 |  | 1.663 | 26.0535 |  |  |  |  | 1.78 | 192.8174
| 65 |  | 0-3 | 1.26 | 141 | 170.3421 | 176.216 |  | 1.662 | 26.0201 |  |  |  |  | 1.26 | 176.216
| 70 |  | 0-1 | 1 | 79 | 114.55 | 118.5 |  | 1.66 | 25.9532 |  |  |  |  | 1 | 118.5
| 75 |  | - |  | 29 | 71.1805 | 73.635 |  | 1.659 | 25.9197 | [5 empty] | 73.635
| 46 |  | 2-6 | 7.13 | 43 | 43 | 44.4828 |  | 1.66 | 25.9532
1999-08-10
28% |  | 28%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
147 | 40 |  | 1-4 | 2.83 | 28 | 28 | 28.5714 |  | 1.727 | 28.194 | [6 empty] | 2.83 | 28.5714
| 45 |  | 2-5 | 6.35 | 37 | 37 | 37.7551 |  | 1.727 | 28.194 | [6 empty] | 6.35 | 37.7551
| 46 |  | 3-1 | 8 | 45 | 45 | 45.9184 |  | 1.726 | 28.1605 | [6 empty] | 8 | 45.9184
| 47 |  | 2-5 | 6.35 | 54 | 54 | 55.102 |  | 1.726 | 28.1605 | [6 empty] | 6.35 | 55.102
| 48 |  | 2-2 | 4.49 | 65 | 65 | 66.3265 |  | 1.727 | 28.194 | [6 empty] | 4.49 | 66.3265
| 50 |  | 1-3 | 2.52 | 96 | 96 | 97.9592 |  | 1.727 | 28.194 | [6 empty] | 2.52 | 97.9592
| 55 |  | 1-2 | 2.24 | 164 | 164 | 167.3469 |  | 1.726 | 28.1605 | [6 empty] | 2.24 | 167.3469
| 60 |  | 1-1 | 2 | 180 | 193.932 | 197.8898 |  | 1.725 | 28.1271 | [6 empty] | 2 | 197.8898
| 65 |  | 0-5 | 1.59 | 142 | 171.5502 | 175.0512 |  | 1.724 | 28.0936 | [6 empty] | 1.59 | 175.0512
| 70 |  | 0-2 | 1.12 | 75 | 108.75 | 110.9694 |  | 1.723 | 28.0602 | [6 empty] | 1.12 | 110.9694
| 75 |  | 0-1 | 1 | 28 | 68.726 | 70.1286 |  | 1.722 | 28.0268 | [6 empty] | 1 | 70.1286
| 46 |  | 2-6 | 7.13 | 46 | 46 | 46.9388 |  | 1.723 | 28.0602
1999-08-11
32% |  | 32%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
150 | 40 |  | 1-4 | 2.83 | 29 | 29 | 29 |  | 1.841 | 32.0067 | [8 empty] | 2.83 | 29
| 45 |  | 2-5 | 6.35 | 40 | 40 | 40 |  | 1.841 | 32.0067 | [8 empty] | 6.35 | 40
| 46 |  | 2-5 | 6.35 | 48 | 48 | 48 |  | 1.839 | 31.9398 | [8 empty] | 6.35 | 48
| 47 |  | 2-4 | 5.66 | 58 | 58 | 58 |  | 1.839 | 31.9398 | [8 empty] | 5.66 | 58
| 48 |  | 2-2 | 4.49 | 72 | 72 | 72 |  | 1.841 | 32.0067 | [8 empty] | 4.49 | 72
| 50 |  | 1-3 | 2.52 | 102 | 102 | 102 |  | 1.84 | 31.9732 | [8 empty] | 2.52 | 102
| 55 |  | 1-2 | 2.24 | 172 | 172 | 172 |  | 1.838 | 31.9064 | [8 empty] | 2.24 | 172
| 60 |  | 1-1 | 2 | 186 | 200.3964 | 200.3964 |  | 1.837 | 31.8729 | [8 empty] | 2 | 200.3964
| 65 |  | 0-5 | 1.59 | 144 | 173.9664 | 173.9664 |  | 1.835 | 31.806 | [8 empty] | 1.59 | 173.9664
| 70 |  | 0-3 | 1.26 | 83 | 120.35 | 120.35 |  | 1.833 | 31.7391 | [8 empty] | 1.26 | 120.35
| 75 |  | 0-1 | 1 | 27 | 66.2715 | 66.2715 |  | 1.831 | 31.6722 | [8 empty] | 1 | 66.2715
| 46 |  | 2-6 | 7.13 | 48 | 48 | 48 |  | 1.832 | 31.7057
1999-08-12
35% |  | 35%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
147 | 40 |  | 1-4 | 2.83 | 28 | 28 | 28.5714 |  | 1.926 | 34.8495 | [10 empty] | 2.83 | 28.5714
| 45 |  | 2-5 | 6.35 | 41 | 41 | 41.8367 |  | 1.925 | 34.8161 | [10 empty] | 6.35 | 41.8367
| 46 |  | 2-5 | 6.35 | 51 | 51 | 52.0408 |  | 1.923 | 34.7492 | [10 empty] | 6.35 | 52.0408
| 47 |  | 2-4 | 5.66 | 62.5 | 62.5 | 63.7755 |  | 1.924 | 34.7826 | [10 empty] | 5.66 | 63.7755
| 48 |  | 2-3 | 4.49 | 76 | 76 | 77.551 |  | 1.926 | 34.8495 | [10 empty] | 4.49 | 77.551
| 50 |  | 1-4 | 2.83 | 108 | 108 | 110.2041 |  | 1.925 | 34.8161 | [10 empty] | 2.83 | 110.2041
| 55 |  | 1-2 | 2.24 | 179 | 179 | 182.6531 |  | 1.923 | 34.7492 | [10 empty] | 2.24 | 182.6531
| 60 |  | 1-1 | 2 | 191 | 205.7834 | 209.9831 |  | 1.922 | 34.7157 | [10 empty] | 2 | 209.9831
| 65 |  | 0-5 | 1.59 | 144 | 173.9664 | 177.5167 |  | 1.92 | 34.6488 | [10 empty] | 1.59 | 177.5167
| 70 |  | 0-3 | 1.26 | 79.5 | 115.275 | 117.6276 |  | 1.918 | 34.5819 | [10 empty] | 1.26 | 117.6276
| 75 |  | 0-1 | 1 | 26 | 63.817 | 65.1194 |  | 1.917 | 34.5485 | [10 empty] | 1 | 65.1194
| 46 |  | 2-6 | 7.13 | 51 | 51 | 52.0408 |  | 1.917 | 34.5485
1999-08-16
43% (d) |  | 43% (d)
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
118 | 40 |  | 1-2 | 2.24 | 23 | 23 | 29.2373 |  | 2.182 | 43.4114 | [12 empty] | 2.24 | 29.2373
| 44 |  | 3-1 | 8 | 37 | 37 | 47.0339 |  | 2.181 | 43.3779 | [12 empty] | 8 | 47.0339
| 45 |  | 3-1 | 8 | 45 | 45 | 57.2034 |  | 2.179 | 43.311 | [12 empty] | 8 | 57.2034
| 46 |  | 3-2 | 8.98 | 56 | 56 | 71.1864 |  | 2.181 | 43.3779 | [12 empty] | 8.98 | 71.1864
| 47 |  | 2-5 | 6.35 | 68 | 68 | 86.4407 |  | 2.181 | 43.3779 | [12 empty] | 6.35 | 86.4407
| 50 |  | 1-4 | 2.83 | 115 | 115 | 146.1864 |  | 2.18 | 43.3445 | [12 empty] | 2.83 | 146.1864
| 55 |  | 1-2 | 2.24 | 169 | 169 | 214.8305 |  | 2.178 | 43.2776 | [12 empty] | 2.24 | 214.8305
| 60 |  | 1-1 | 2 | 155 | 166.997 | 212.2843 |  | 2.177 | 43.2441 | [12 empty] | 2 | 212.2843
| 65 |  | 0-5 | 1.59 | 101 | 122.0181 | 155.1078 |  | 2.175 | 43.1773 | [12 empty] | 1.59 | 155.1078
| 70 |  | 0-2 | 1.12 | 50 | 72.5 | 92.161 |  | 2.173 | 43.1104 | [12 empty] | 1.12 | 92.161
| 75 |  | 0-1 | 1 | 15 | 36.8175 | 46.8019 |  | 2.171 | 43.0435 | [12 empty] | 1 | 46.8019
| 46 |  | 3-2 | 8.98 | 56 | 56 | 71.1864 |  | 2.17 | 43.01
1999-08-12
49% |  | 49%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
121 | 40 |  | 1-1 | 2 | 23 | 23 | 28.5124 |  | 2.363 | 49.4649 | [14 empty] | 2 | 28.5124
| 45 |  | 3-1 | 8 | 47.5 | 47.5 | 58.8843 |  | 2.364 | 49.4983 | [14 empty] | 8 | 58.8843
| 46 |  | 3-1 | 8 | 58 | 58 | 71.9008 |  | 2.363 | 49.4649 | [14 empty] | 8 | 71.9008
| 47 |  | 2-5 | 6.35 | 73 | 73 | 90.4959 |  | 2.361 | 49.398 | [14 empty] | 6.35 | 90.4959
| 48 |  | 2-3 | 4.49 | 89 | 89 | 110.3306 |  | 2.364 | 49.4983 | [14 empty] | 4.49 | 110.3306
| 50 |  | 1-4 | 2.83 | 119 | 119 | 147.5207 |  | 2.362 | 49.4314 | [14 empty] | 2.83 | 147.5207
| 55 |  | 1-2 | 2.24 | 174 | 174 | 215.7025 |  | 2.36 | 49.3645 | [14 empty] | 2.24 | 215.7025
| 60 |  | 1-1 | 2 | 158 | 170.2292 | 211.0279 |  | 2.358 | 49.2977 | [14 empty] | 2 | 211.0279
| 65 |  | 0-5 | 1.59 | 101 | 122.0181 | 151.2621 |  | 2.355 | 49.1973 | [14 empty] | 1.59 | 151.2621
| 70 |  | 0-4 | 1.41 | 48 | 69.6 | 86.281 |  | 2.352 | 49.097 | [14 empty] | 1.41 | 86.281
| 75 |  | - |  | 14 | 34.363 | 42.5988 |  | 2.35 | 49.0301 | [15 empty] | 42.5988
| 46 |  | 3-2 | 8.98 | 59 | 59 | 73.1405 |  | 2.35 | 49.0301
1999-08-26
37% |  | 37%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
119 | 40 |  | 1-3 | 2.52 | 22.7 | 22.7 | 28.6134 |  | 2.002 | 37.3913 | [16 empty] | 2.52 | 28.6134
| 44 |  | 2-4 | 5.66 | 32.6 | 32.6 | 41.0924 |  | 2.002 | 37.3913 | [16 empty] | 5.66 | 41.0924
| 45 |  | 2-6 | 7.13 | 39.5 | 39.5 | 49.7899 |  | 2.001 | 37.3579 | [16 empty] | 7.13 | 49.7899
| 46 |  | 3-1 | 8 | 48 | 48 | 60.5042 |  | 1.999 | 37.291 | [16 empty] | 8 | 60.5042
| 47 |  | 2-4 | 5.66 | 59 | 59 | 74.3697 |  | 2.002 | 37.3913 | [16 empty] | 5.66 | 74.3697
| 50 |  | 1-3 | 2.52 | 100 | 100 | 126.0504 |  | 2.001 | 37.3579 | [16 empty] | 2.52 | 126.0504
| 55 |  | 1-2 | 2.24 | 161 | 161 | 202.9412 |  | 2.001 | 37.3579 | [16 empty] | 2.24 | 202.9412
| 60 |  | 1-1 | 2 | 163 | 175.6162 | 221.365 |  | 2 | 37.3244 | [16 empty] | 2 | 221.365
| 65 |  | 0-6 | 1.78 | 115 | 138.9315 | 175.1237 |  | 1.999 | 37.291 | [16 empty] | 1.78 | 175.1237
| 70 |  | 0-3 | 1.26 | 59.3 | 85.985 | 108.3845 |  | 1.997 | 37.2241 | [16 empty] | 1.26 | 108.3845
| 75 |  | 0-2 | 1.12 | 18.3 | 44.9173 | 56.6185 |  | 1.996 | 37.1906 | [16 empty] | 1.12 | 56.6185
| 46 |  | 2-6 | 7.13 | 48.5 | 48.5 | 61.1345 |  | 1.996 | 37.1906
1999-08-26
49% |  | 49%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
120 | 40 |  | 1-2 | 2.24 | 23.4 | 23.4 | 29.25 |  | 2.372 | 49.7659 | [18 empty] | 2.24 | 29.25
| 44 |  | 3-1 | 8 | 39 | 39 | 48.75 |  | 2.368 | 49.6321 | [18 empty] | 8 | 48.75
| 45 |  | 3-1 | 8 | 49 | 49 | 61.25 |  | 2.363 | 49.4649 | [18 empty] | 8 | 61.25
| 46 |  | 3-2 | 8.98 | 60 | 60 | 75 |  | 2.373 | 49.7993 | [18 empty] | 8.98 | 75
| 47 |  | 2-5 | 6.35 | 74 | 74 | 92.5 |  | 2.37 | 49.699 | [18 empty] | 6.35 | 92.5
| 50 |  | 1-3 | 2.52 | 120 | 120 | 150 |  | 2.365 | 49.5318 | [18 empty] | 2.52 | 150
| 55 |  | 1-1 | 2 | 172 | 172 | 215 |  | 2.361 | 49.398 | [18 empty] | 2 | 215
| 60 |  | 1-1 | 2 | 157 | 169.1518 | 211.4398 |  | 2.358 | 49.2977 | [18 empty] | 2 | 211.4398
| 65 |  | 0-4 | 1.41 | 99.6 | 120.3268 | 150.4084 |  | 2.355 | 49.1973 | [18 empty] | 1.41 | 150.4084
| 70 |  | 0-3 | 1.26 | 48 | 69.6 | 87 |  | 2.351 | 49.0635 | [18 empty] | 1.26 | 87
| 75 |  | 0-2 | 1.12 | 13.51 | 33.1603 | 41.4504 |  | 2.347 | 48.9298 | [18 empty] | 1.12 | 41.4504
| 46 |  | 3-1 | 8 | 60 | 60 | 75 |  | 2.345 | 48.8629
1999-08-27
64%? |  | 64%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
79 | 40 |  | 2-1 | 4 | 17 | 17 | 32.2785 |  | 2.812 | 64.4816 | [20 empty] | 4 | 32.2785
| 44 |  | 3-1 | 8 | 38 | 38 | 72.1519 |  | 2.805 | 64.2475 | [20 empty] | 8 | 72.1519
| 45 |  | 3-2 | 8.98 | 47.5 | 47.5 | 90.1899 |  | 2.799 | 64.0468 | [20 empty] | 8.98 | 90.1899
| 46 |  | 3-1 | 8 | 59 | 59 | 112.0253 |  | 2.813 | 64.5151 | [20 empty] | 8 | 112.0253
| 47 |  | 2-5 | 6.35 | 72 | 72 | 136.7089 |  | 2.809 | 64.3813 | [20 empty] | 6.35 | 136.7089
| 50 |  | 1-4 | 2.83 | 107 | 107 | 203.1646 |  | 2.802 | 64.1472 | [20 empty] | 2.83 | 203.1646
| 55 |  | 1-2 | 2.24 | 127 | 127 | 241.1392 |  | 2.795 | 63.913 | [20 empty] | 2.24 | 241.1392
| 60 |  | 0-6 | 1.78 | 94 | 101.2756 | 192.2954 |  | 2.791 | 63.7793 | [20 empty] | 1.78 | 192.2954
| 65 |  | 0-4 | 1.41 | 47 | 56.7807 | 107.8115 |  | 2.786 | 63.612 | [20 empty] | 1.41 | 107.8115
| 70 |  | 0-1 | 1 | 19.3 | 27.985 | 53.1361 |  | 2.781 | 63.4448 | [20 empty] | 1 | 53.1361
| 75 |  | too faint
| 46 |  | 3-1 | 8 | 59.5 | 59.5 | 112.9747 |  | 2.773 | 63.1773
1999-08-27
80%? |  | 80%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
79.5 | 40 |  | 2-3 | 5.04 | 19.7 | 19.7 | 37.1698 |  | 3.28 | 80.1338 | [22 empty] | 5.04 | 37.1698
| 43 |  | 3-2 | 8.98 | 39 | 39 | 73.5849 |  | 3.273 | 79.8997 | [22 empty] | 8.98 | 73.5849
| 44 |  | 3-2 | 8.98 | 48.4 | 48.4 | 91.3208 |  | 3.265 | 79.6321 | [22 empty] | 8.98 | 91.3208
| 45 |  | 3-2 | 8.98 | 60 | 60 | 113.2075 |  | 3.248 | 79.0635 | [22 empty] | 8.98 | 113.2075
| 46 |  | 3-1 | 8 | 78 | 78 | 147.1698 |  | 3.276 | 80 | [22 empty] | 8 | 147.1698
| 47 |  | 2-5 | 6.35 | 88 | 88 | 166.0377 |  | 3.277 | 80.0334 | [22 empty] | 6.35 | 166.0377
| 50 |  | 1-5 | 3.17 | 120 | 120 | 226.4151 |  | 3.269 | 79.7659 | [22 empty] | 3.17 | 226.4151
| 55 |  | 1-2 | 2.24 | 125 | 125 | 235.8491 |  | 3.261 | 79.4983 | [22 empty] | 2.24 | 235.8491
| 60 |  | 0-6 | 1.78 | 81 | 87.2694 | 164.6592 |  | 3.255 | 79.2977 | [22 empty] | 1.78 | 164.6592
| 65 |  | 0-4 | 1.41 | 37 | 44.6997 | 84.3391 |  | 3.24 | 78.796 | [22 empty] | 1.41 | 84.3391
| 70 |  | 0-1 | 1 | 13 | 18.85 | 35.566 |  | 3.233 | 78.5619 | [22 empty] | 1 | 35.566
| 46 |  | 3-1 | 8 | 71 | 71 | 133.9623 |  | 3.222 | 78.194
1999-08-29
54% (d) |  | 54% (d)
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
79.5 | 40 |  | 1-6 | 3.56 | 16.3 | 16.3 | 30.7547 |  | 2.506 | 54.2475 | [24 empty] | 3.56 | 30.7547
| 43 |  | 3-1 | 8 | 28 | 28 | 52.8302 |  | 2.507 | 54.2809 | [24 empty] | 8 | 52.8302
| 44 |  | 3-2 | 8.98 | 35 | 35 | 66.0377 |  | 2.505 | 54.214 | [24 empty] | 8.98 | 66.0377
| 45 |  | 3-2 | 8.98 | 45 | 45 | 84.9057 |  | 2.503 | 54.1472 | [24 empty] | 8.98 | 84.9057
| 46 |  | 3-2 | 8.98 | 56 | 56 | 105.6604 |  | 2.505 | 54.214 | [24 empty] | 8.98 | 105.6604
| 47 |  | 3-1 | 8 | 66 | 66 | 124.5283 |  | 2.507 | 54.2809 | [24 empty] | 8 | 124.5283
| 50 |  | 2-1 | 4 | 101 | 101 | 190.566 |  | 2.504 | 54.1806 | [24 empty] | 4 | 190.566
| 55 |  | 1-2 | 2.24 | 130 | 130 | 245.283 |  | 2.501 | 54.0803 | [24 empty] | 2.24 | 245.283
| 60 |  | 1-1 | 2 | 99 | 106.6626 | 201.2502 |  | 2.5 | 54.0468 | [24 empty] | 2 | 201.2502
| 65 |  | 0-5 | 1.59 | 51 | 61.6131 | 116.2511 |  | 2.497 | 53.9465 | [24 empty] | 1.59 | 116.2511
| 70 |  | 0-2 | 1.12 | 21 | 30.45 | 57.4528 |  | 2.495 | 53.8796 | [24 empty] | 1.12 | 57.4528
| 46 |  | 3-2 | 8.98 | 56 | 56 | 105.6604 |  | 2.493 | 53.8127
1999-08-30
93%* |  | 93%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
79.5 | 35 |  | 1-1 | 2 | 16.4 | 16.4 | 30.9434 |  | 3.667 | 93.0769 | [26 empty] | 2 | 30.9434
| 40 |  | 3-1 | 8 | 43 | 43 | 81.1321 |  | 3.667 | 93.0769 | [26 empty] | 8 | 81.1321
| 43 |  | 3-4 | 11.3 | 98.5 | 98.5 | 185.8491 |  | 3.658 | 92.7759 | [26 empty] | 11.3 | 185.8491
| 44 |  | 3-4 | 11.3 | 98 | 98 | 184.9057 |  | 3.666 | 93.0435 | [26 empty] | 11.3 | 184.9057
| 45 |  | 3-4 | 11.3 | 112 | 112 | 211.3208 |  | 3.658 | 92.7759 | [26 empty] | 11.3 | 211.3208
| 46 |  | 3-2 | 8.98 | 142 | 142 | 267.9245 |  | 3.639 | 92.1405 | [26 empty] | 8.98 | 267.9245
| 47 |  | 2-6 | 7.13 | 140 | 140 | 264.1509 |  | 3.664 | 92.9766 | [26 empty] | 7.13 | 264.1509
| 50 |  | 1-5 | 3.17 | 138 | 138 | 260.3774 |  | 3.663 | 92.9431 | [26 empty] | 3.17 | 260.3774
| 55 |  | 1-3 | 2.52 | 86 | 86 | 162.2642 |  | 3.655 | 92.6756 | [26 empty] | 2.52 | 162.2642
| 60 |  | 0-6 | 1.78 | 30 | 32.322 | 60.9849 |  | 3.648 | 92.4415 | [26 empty] | 1.78 | 60.9849
| 65 |  |  |  | 14 | 16.9134 | 31.9121 |  | 3.64 | 92.1739 | [27 empty] | 31.9121
| 46 |  | 3-2 | 8.98 | 126 | 126 | 237.7358 |  | 3.633 | 91.9398
1999-08-30
88% (d) |  | 88% (d)
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
79.5 | 35 |  | 1-5 | 3.17 | 18 | 18 | 33.9623 |  | 3.533 | 88.5953 | [28 empty] | 3.17 | 33.9623
| 40 |  | 2-6 | 7.13 | 25 | 25 | 47.1698 |  | 3.542 | 88.8963 | [28 empty] | 7.13 | 47.1698
| 43 |  | 3-4 | 11.3 | 54 | 54 | 101.8868 |  | 3.535 | 88.6622 | [28 empty] | 11.3 | 101.8868
| 44 |  | 3-4 | 11.3 | 65 | 65 | 122.6415 |  | 3.531 | 88.5284 | [28 empty] | 11.3 | 122.6415
| 45 |  | 3-3 | 10.1 | 80.4 | 80.4 | 151.6981 |  | 3.524 | 88.2943 | [28 empty] | 10.1 | 151.6981
| 46 |  | 3-3 | 10.1 | 97 | 97 | 183.0189 |  | 3.547 | 89.0635 | [28 empty] | 10.1 | 183.0189
| 47 |  | 3-1 | 8 | 106 | 106 | 200 |  | 3.539 | 88.796 | [28 empty] | 8 | 200
| 50 |  | 1-6 | 3.56 | 135.7 | 135.7 | 256.0377 |  | 3.525 | 88.3278 | [28 empty] | 3.56 | 256.0377
| 55 |  | 1-3 | 2.52 | 115 | 115 | 216.9811 |  | 3.52 | 88.1605 | [28 empty] | 2.52 | 216.9811
| 60 |  | 0-6 | 1.78 | 56.8 | 61.1963 | 115.4648 |  | 3.516 | 88.0268 | [28 empty] | 1.78 | 115.4648
| 65 |  | 0-3 | 1.26 | 21.4 | 25.8533 | 48.7799 |  | 3.513 | 87.9264 | [28 empty] | 1.26 | 48.7799
| 46 |  | 3-3 | 10.1 | 97.2 | 97.2 | 183.3962 |  | 3.507 | 87.7258

## Plate 2
Effect of Humidity on Replay on Optimum Replay Angle - in-water object | [5 empty] | Intensity correction |  | 55 | 1.0576
Correct image intensity to 150 mW | [5 empty] | at high angles |  | 60 | 1.1108
Plate GAC 1 | "Plate 2" | [6 empty] | 65 | 1.3483
[8 empty] | 70 | 2
1999-09-13 | [7 empty] | 75 | 3
1: 49% (a) |  | 49%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%] | Plot Res and Intensity
150 | 35 |  | 0-1 | 1 | 15 | 15 | 15 |  | 2.35 | 49.0301 | 1 | 15
(a) = open to atmosphere | 40 |  | 1-5 | 3.17 | 21.8 | 21.8 | 21.8 |  | 2.349 | 48.9967 | 3.17 | 21.8
| 44 |  | 2-3 | 5.04 | 15.7 | 15.7 | 15.7 |  | 2.348 | 48.9632 | 5.04 | 15.7
| 45 |  | 2-4 | 5.66 | 23 | 23 | 23 |  | 2.348 | 48.9632 | 5.66 | 23
| 46 |  | 3-3 | 10.1 | 37.45 | 37.45 | 37.45 |  | 2.349 | 48.9967 | 10.1 | 37.45
| 47 |  | 3-5 | 12.7 | 58.5 | 58.5 | 58.5 |  | 2.349 | 48.9967 | 12.7 | 58.5
| 48 |  | 3-6 | 14.3 | 87.2 | 87.2 | 87.2 |  | 2.347 | 48.9298 | 14.3 | 87.2
| 49 |  | 3-4 | 11.3 | 120 | 120 | 120 |  | 2.346 | 48.8963 | 11.3 | 120
| 50 |  | 3-3 | 10.1 | 151 | 151 | 151 |  | 2.348 | 48.9632 | 10.1 | 151
| 55 |  | 2-6 | 7.13 | 238.75 | 252.5 | 252.5 |  | 2.347 | 48.9298 | 7.13 | 252.5
| 60 |  | 2-5 | 6.35 | 133 | 147.7378 | 147.7378 |  | 2.345 | 48.8629 | 6.35 | 147.7378
| 65 |  | 3-1 | 8 | 31.6 | 42.6067 | 42.6067 |  | 2.344 | 48.8294 | 8 | 42.6067
| 70 |  | 1-6 | 3.56 | 6.4 | 12.8 | 12.8 |  | 2.341 | 48.7291 | 3.56 | 12.8
| 46 |  | 3-3 | 10.1 | 37.55 | 37.55 | 37.55 |  | 2.343 | 48.796
1999-09-14
1: 16% |  | 16%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
119 | 35 |  | 0-1 | 1 | 9 | 9 | 11.3445 |  | 1.344 | 15.3846 |  |  | 1 | 11.3445
| 40 |  | 1-6 | 3.56 | 17 | 17 | 21.4286 |  | 1.339 | 15.2174 |  |  | 3.56 | 21.4286
| 44 |  | 2-3 | 5.04 | 11.45 | 11.45 | 14.4328 |  | 1.35 | 15.5853 |  |  | 5.04 | 14.4328
| 46 |  | 2-3 | 5.04 | 10 | 10 | 12.605 |  | 1.334 | 15.0502 |  |  | 5.04 | 12.605
| 47 |  | 2-6 | 7.13 | 13 | 13 | 16.3866 |  | 1.347 | 15.4849 |  |  | 7.13 | 16.3866
| 48 |  | 3-2 | 8.98 | 18.8 | 18.8 | 23.6975 |  | 1.355 | 15.7525 |  |  | 8.98 | 23.6975
| 49 |  | 3-2 | 8.98 | 28.3 | 28.3 | 35.6723 |  | 1.361 | 15.9532 |  |  | 8.98 | 35.6723
| 50 |  | 3-3 | 10.1 | 42.5 | 42.5 | 53.5714 |  | 1.353 | 15.6856 |  |  | 10.1 | 53.5714
| 55 |  | 3-1 | 8 | 132 | 139.6021 | 175.969 |  | 1.359 | 15.8863 |  |  | 8 | 175.969
| 60 |  | 2-5 | 6.35 | 149 | 165.5108 | 208.6271 |  | 1.364 | 16.0535 |  |  | 6.35 | 208.6271
| 65 |  | 3-1 | 8 | 85 | 114.6067 | 144.4623 |  | 1.366 | 16.1204 |  |  | 8 | 144.4623
| 70 |  | 2-6 | 7.13 | 24.2 | 48.4 | 61.0084 |  | 1.368 | 16.1873 |  |  | 7.13 | 61.0084
| 75 |  | 2-3 | 5.04 | 5 | 15 | 18.9076 |  | 1.371 | 16.2876 |  |  | 5.04 | 18.9076
| 46 |  | 2-3 | 5.04 | 10.3 | 10.3 | 12.9832 |  | 1.374 | 16.388
1999-09-15
1: 33% |  | 33%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
119 | 35 |  | 0-1 | 1 | 9.7 | 9.7 | 12.2269 |  | 1.868 | 32.9097 |  |  |  |  | 1 | 12.2269
| 40 |  | 2-1 | 4 | 17.2 | 17.2 | 21.6807 |  | 1.866 | 32.8428 |  |  |  |  | 4 | 21.6807
| 44 |  | 2-1 | 4 | 10 | 10 | 12.605 |  | 1.866 | 32.8428 |  |  |  |  | 4 | 12.605
| 46 |  | 2-6 | 7.13 | 12.4 | 12.4 | 15.6303 |  | 1.863 | 32.7425 |  |  |  |  | 7.13 | 15.6303
| 47 |  | 3-1 | 8 | 18 | 18 | 22.6891 |  | 1.868 | 32.9097 |  |  |  |  | 8 | 22.6891
| 48 |  | 3-2 | 8.98 | 28 | 28 | 35.2941 |  | 1.867 | 32.8763 |  |  |  |  | 8.98 | 35.2941
| 49 |  | 3-1 | 8 | 43.8 | 43.8 | 55.2101 |  | 1.866 | 32.8428 |  |  |  |  | 8 | 55.2101
| 50 |  | 3-1 | 8 | 65 | 65 | 81.9328 |  | 1.867 | 32.8763 |  |  |  |  | 8 | 81.9328
| 55 |  | 2-3 | 5.04 | 148 | 156.5236 | 197.2986 |  | 1.868 | 32.9097 |  |  |  |  | 5.04 | 197.2986
| 60 |  | 2-4 | 5.66 | 144.6 | 160.6232 | 202.4663 |  | 1.865 | 32.8094 |  |  |  |  | 5.66 | 202.4663
| 65 |  | 2-2 | 4.49 | 65 | 87.6404 | 110.4712 |  | 1.864 | 32.7759 |  |  |  |  | 4.49 | 110.4712
| 70 |  | 2-6 | 7.13 | 14.7 | 29.4 | 37.0588 |  | 1.862 | 32.709 |  |  |  |  | 7.13 | 37.0588
| 75 |  | 1-5 | 3.17 | 4 | 12 | 15.1261 |  | 1.86 | 32.6421 |  |  |  |  | 3.17 | 15.1261
| 46 |  | 2-6 | 7.13 | 12.8 | 12.8 | 16.1345 |  | 1.861 | 32.6756
1999-09-16
1: 42% |  | 42%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
117 | 35 |  | 0-2 | 1.12 | 9.7 | 9.7 | 12.4359 |  | 2.145 | 42.1739 | [6 empty] | 1.12 | 12.4359
| 40 |  | 2-1 | 4 | 17 | 17 | 21.7949 |  | 2.147 | 42.2408 | [6 empty] | 4 | 21.7949
| 44 |  | 2-3 | 4 | 10 | 10 | 12.8205 |  | 2.135 | 41.8395 | [6 empty] | 4 | 12.8205
| 46 |  | 2-6 | 7.13 | 14 | 14 | 17.9487 |  | 2.148 | 42.2742 | [6 empty] | 7.13 | 17.9487
| 47 |  | 3-2 | 8.98 | 21.7 | 21.7 | 27.8205 |  | 2.143 | 42.107 | [6 empty] | 8.98 | 27.8205
| 48 |  | 3-2 | 8.98 | 34 | 34 | 43.5897 |  | 2.138 | 41.9398 | [6 empty] | 8.98 | 43.5897
| 49 |  | 3-1 | 8 | 51 | 51 | 65.3846 |  | 2.134 | 41.806 | [6 empty] | 8 | 65.3846
| 50 |  | 3-1 | 8 | 70 | 70 | 89.7436 |  | 2.136 | 41.8729 | [6 empty] | 8 | 89.7436
| 55 |  | 2-4 | 5.66 | 160 | 169.2147 | 216.9419 |  | 2.141 | 42.0401 | [6 empty] | 5.66 | 216.9419
| 60 |  | 2-4 | 5.66 | 138 | 153.2919 | 196.5281 |  | 2.132 | 41.7391 | [6 empty] | 5.66 | 196.5281
| 65 |  | 2-4 | 5.66 | 55 | 74.1573 | 95.0735 |  | 2.13 | 41.6722 | [6 empty] | 5.66 | 95.0735
| 70 |  | 2-4 | 5.66 | 11.55 | 23.1 | 29.6154 |  | 2.126 | 41.5385 | [6 empty] | 5.66 | 29.6154
| 46 |  | 2-6 | 7.13 | 14.8 | 14.8 | 18.9744 |  | 2.124 | 41.4716
1999-09-17
1: 48% |  | 48%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
116 | 35 |  | 0-2 | 1.12 | 10 | 10 | 12.931 |  | 2.335 | 48.5284 | [8 empty] | 1.12 | 12.931
| 40 |  | 2-1 | 4 | 17 | 17 | 21.9828 |  | 2.335 | 48.5284 | [8 empty] | 4 | 21.9828
| 44 |  | 2-3 | 4 | 10 | 10 | 12.931 |  | 2.331 | 48.3946 | [8 empty] | 4 | 12.931
| 46 |  | 3-1 | 8 | 16 | 16 | 20.6897 |  | 2.336 | 48.5619 | [8 empty] | 8 | 20.6897
| 47 |  | 3-3 | 10.1 | 26 | 26 | 33.6207 |  | 2.335 | 48.5284 | [8 empty] | 10.1 | 33.6207
| 48 |  | 3-3 | 10.1 | 40 | 40 | 51.7241 |  | 2.333 | 48.4615 | [8 empty] | 10.1 | 51.7241
| 49 |  | 3-2 | 8.98 | 59.55 | 59.55 | 77.0043 |  | 2.331 | 48.3946 | [8 empty] | 8.98 | 77.0043
| 50 |  | 3-2 | 8.98 | 80.7 | 80.7 | 104.3534 |  | 2.332 | 48.4281 | [8 empty] | 8.98 | 104.3534
| 55 |  | 2-3 | 5.04 | 165 | 174.5026 | 225.6499 |  | 2.334 | 48.495 | [8 empty] | 5.04 | 225.6499
| 60 |  | 2-3 | 5.04 | 131 | 145.5162 | 188.1675 |  | 2.332 | 48.4281 | [8 empty] | 5.04 | 188.1675
| 65 |  | 2-4 | 5.66 | 46.4 | 62.5618 | 80.8989 |  | 2.33 | 48.3612 | [8 empty] | 5.66 | 80.8989
| 70 |  | 2-4 | 5.66 | 9 | 18 | 23.2759 |  | 2.327 | 48.2609 | [8 empty] | 5.66 | 23.2759
| 46 |  | 3-1 | 8 | 16.8 | 16.8 | 21.7241 |  | 2.326 | 48.2274
1999-09-20
1: 87% |  | 87%
Laser [mW]: | Replay Angle |  | Res element | Resolution [lp/mm] | b/g | Corrected b/g | Intensity |  | RH [V] | Humidity [%]
102 | 35 |  | 0-4 | 1.41 | 13 | 13 | 19.1176 |  | 3.515 | 87.9933 | [10 empty] | 1.41 | 19.1176
| 40 |  | 1-3 | 2.52 | 10 | 10 | 14.7059 |  | 3.517 | 88.0602 | [10 empty] | 2.52 | 14.7059
| 44 |  | 2-6 | 7.13 | 33.2 | 33.2 | 48.8235 |  | 3.496 | 87.3579 | [10 empty] | 7.13 | 48.8235
| 46 |  | 3-5 | 12.7 | 89 | 89 | 130.8824 |  | 3.513 | 87.9264 | [10 empty] | 12.7 | 130.8824
| 47 |  | 3-4 | 11.3 | 114 | 114 | 167.6471 |  | 3.509 | 87.7926 | [10 empty] | 11.3 | 167.6471
| 48 |  | 3-3 | 10.1 | 142 | 142 | 208.8235 |  | 3.5 | 87.4916 | [10 empty] | 10.1 | 208.8235
| 49 |  | 3-1 | 8 | 159 | 159 | 233.8235 |  | 3.496 | 87.3579 | [10 empty] | 8 | 233.8235
| 50 |  | 2-6 | 7.13 | 180 | 180 | 264.7059 |  | 3.499 | 87.4582 | [10 empty] | 7.13 | 264.7059
| 55 |  | 2-4 | 5.66 | 118.3 | 125.1131 | 183.9898 |  | 3.506 | 87.6923 | [10 empty] | 5.66 | 183.9898
| 60 |  | 2-4 | 5.66 | 22.9 | 25.4376 | 37.4082 |  | 3.492 | 87.2241 | [10 empty] | 5.66 | 37.4082
| 65 |  | 1-2 | 2.24 | 5.2 | 7.0112 | 10.3106 |  | 3.478 | 86.7559 | [10 empty] | 2.24 | 10.3106
| 70 |  | 1-6 | 3.56 | 5.8 | 11.6 | 17.0588 |  | 3.466 | 86.3545 | [10 empty] | 3.56 | 17.0588
| 46 |  | 3-5 | 12.7 | 92 | 92 | 135.2941 |  | 3.458 | 86.087

## Plates
Properties of Holographic Plates
Compare Plates |  | Brightness and contrast at 50° with same laser power |  |  |  |  | Resolution
|  | Brightness | Contrast | L | D | (L-D)/(L+D)
Plate 48.2 | 8E/MAA/Fix | 44 |  | 43.7 | 14 | 0.51473
Plate 48.8 | 8E/Neo/Fix | 8.7 |  | 10 | 5 | 0.33333
Plate 48.9 | 8E/Neo/Des | 16.7 |  | 20 | 7.8 | 0.43885
Plate 49.1 | MM/Neo/Fix | 234 |  | 236 | 58 | 0.60544
Plate 49.2 | MM/Neo/Des | 46.6 |  | 42 | 26.2 | 0.23167
At 46°, diff laser | GAC1 |  |  | 31.6 | 14.8 | 0.36207 | 3-2
| GAC2 |  |  | 67.4 | 38.2 | 0.27652 | 2-6
| GAC3 |  |  | 36 | 17.8 | 0.33829 | 3-2
|  | Transmission of 3.25mW 633nm laser beam |  |  |  | 3.25
|  | Unexposed [mW] |  | Substrate Density |  | Exposed Region [mW] | Plate Density | Hologram Density
Plate 48.2 | 8E/MAA/Fix | 2.73 |  | 0.075721 |  | 0.89 | 0.56249 | 0.48677
Plate 48.8 | 8E/Neo/Fix | 1.75 |  | 0.26885 |  | 0.16 | 1.3078 | 1.0389
Plate 48.9 | 8E/Neo/Des | 1.82 |  | 0.25181 |  | 0.11 | 1.4705 | 1.2187
Plate 49.1 | MM/Neo/Fix | 2.53 |  | 0.10876 |  | 1.75 | 0.26885 | 0.16008
Plate 49.2 | MM/Neo/Des | 2.33 |  | 0.14453 |  | 0.6 | 0.73373 | 0.5892
2.59
1999-09-07 | 8E/MAA/Fix (After) | 2.13 |  | 0.08492 |  | 0.52 | 0.6973 | 0.61238
2.59 mW: | GAC1 | 0.69 |  | 0.57445 |  | 0.21 | 1.0911 | 0.51663
| GAC2 | 1.01 |  | 0.40898 |  | 0.79 | 0.51567 | 0.10669
| GAC3 | 1 |  | 0.4133 |  | 0.32 | 0.90815 | 0.49485
2.48
1999-09-23 | GAC1 (after) | 0.63 |  | 0.59511 |  | 0.18 | 1.1392 | 0.54407
1999-09-07 |  | Scattering of 3.12mW 633nm laser beam |  |  |  | 3.12
|  | Unexposed [mW] |  | Substrate Density |  | Exposed Region [mW] | Plate Density | Hologram Density
Plate 48.2 | 8E/MAA/Fix (After) | 2.35 |  | 0.12309 |  | 0.74 | 0.62492 | 0.50184
Plate 48.8 | 8E/Neo/Fix | 1.5 |  | 0.31806 |  | 0.11 | 1.4528 | 1.1347
Plate 48.9 | 8E/Neo/Des | 1.42 |  | 0.34187 |  | 0.09 | 1.5399 | 1.198
Plate 49.1 | MM/Neo/Fix | 2.54 |  | 0.089321 |  | 0.53 | 0.76988 | 0.68056
Plate 49.2 | MM/Neo/Des | 2.25 |  | 0.14197 |  | 0.91 | 0.53511 | 0.39314
| GAC1 | 0.85 |  | 0.56474 |  | 0.17 | 1.2637 | 0.69897
| GAC2 | 1.2 |  | 0.41497 |  | 0.89 | 0.54476 | 0.12979
| GAC3 | 1.23 |  | 0.40425 |  | 0.42 | 0.87091 | 0.46666
3.08
1999-09-23 | GAC1 (after) | 0.73 |  | 0.62523 |  | 0.14 | 1.3424 | 0.71719

## Response
Look at response time of emulsion - suddenly let in dry air and watch intensity at given replay angle
Correct Intensity to 150 mW
36420 | [13 empty] | Approach of O'Neill et al.
145 | mW | [5 empty] | Work out time constant: |  |  |  | Bodge: Intensity Offset |  | 0 | Final Intensity Offset |  | 1e-06
15:09 | Flow Start |  | Image Intensity [arb. units]
Time | Run Time [min] | b/g | Intensity (rel. 150mW) | RH [V] | Enclosure Humidity [%] | Run time [s] | ln (Intensity) |  |  | TC by point |  |  | TC by point
15:01 | -7.5 | 99 | 102.4138 | 2.302 | 47.4247 | -450 | 4.629 |  | 0 |  |  | 0 |  |  | 4.1282
15:03 | -5.5 | 99 | 102.4138 | 2.301 | 47.3913 | -330 | 4.629 |  | 0 |  |  | 0 |  |  | 4.1282
15:05 | -3.5 | 99 | 102.4138 | 2.301 | 47.3913 | -210 | 4.629 |  | 0 |  |  | 0 |  |  | 4.1282
15:07 | -1.5 | 99 | 102.4138 | 2.301 | 47.3913 | -90 | 4.629 |  | 0 |  |  | 0 |  |  | 4.1282
15:09 | 0.5 | 96 | 99.3103 | 1.57 | 22.9431 | 30 | 4.5982 |  | -0.030772 | 974.9231 |  | -0.030772 | 974.9231 |  | 4.077
15:11 | 2.5 | 72 | 74.4828 | 1.44 | 18.5953 | 150 | 4.3106 |  | -0.31845 | 471.026 |  | -0.31845 | 471.026 |  | 3.5304
15:12 | 3.5 | 68 | 70.3448 | 1.365 | 16.087 | 210 | 4.2534 |  | -0.37561 | 559.0874 |  | -0.37561 | 559.0874 |  | 3.4012
15:13 | 4.5 | 65 | 67.2414 | 1.29 | 13.5786 | 270 | 4.2083 |  | -0.42073 | 641.7378 |  | -0.42073 | 641.7378 |  | 3.292
15:15 | 6.5 | 61 | 63.1034 | 1.238 | 11.8395 | 390 | 4.1448 |  | -0.48425 | 805.3758 |  | -0.48425 | 805.3758 |  | 3.1249
15:17 | 8.5 | 57 | 58.9655 | 1.238 | 11.8395 | 510 | 4.077 |  | -0.55207 | 923.7983 |  | -0.55207 | 923.7983 |  | 2.9243
15:19 | 10.5 | 55.7 | 57.6207 | 1.205 | 10.7358 | 630 | 4.0539 |  | -0.57514 | 1095.386 |  | -0.57514 | 1095.386 |  | 2.8493
15:21 | 12.5 | 54 | 55.8621 | 1.189 | 10.2007 | 750 | 4.0229 |  | -0.60614 | 1237.3465 |  | -0.60614 | 1237.3465 |  | 2.742
15:25 | 16.5 | 52 | 53.7931 | 1.146 | 8.7625 | 990 | 3.9851 |  | -0.64388 | 1537.5628 |  | -0.64388 | 1537.5628 |  | 2.5989
15:30 | 21.5 | 49.7 | 51.4138 | 1.114 | 7.6923 | 1290 | 3.9399 |  | -0.68911 | 1871.9664 |  | -0.68911 | 1871.9664 |  | 2.4041
15:35 | 26.5 | 48 | 49.6552 | 1.095 | 7.0569 | 1590 | 3.9051 |  | -0.72392 | 2196.3788 |  | -0.72392 | 2196.3788 |  | 2.2311
15:46 | 37.5 | 45.6 | 47.1724 | 1.067 | 6.1204 | 2250 | 3.8538 |  | -0.77521 | 2902.4314 |  | -0.77521 | 2902.4314 |  | 1.921
16:00 | 51.5 | 44 | 45.5172 | 1.047 | 5.4515 | 3090 | 3.8181 |  | -0.81093 | 3810.4388 |  | -0.81093 | 3810.4388 |  | 1.6433
16:31 | 82.5 | 42 | 43.4483 | 1.021 | 4.5819 | 4950 | 3.7716 |  | -0.85745 | 5772.9298 |  | -0.85745 | 5772.9298 |  | 1.1325
17:00 | 111.5 | 40.4 | 41.7931 | 1.008 | 4.1472 | 6690 | 3.7327 |  | -0.89629 | 7464.1015 |  | -0.89629 | 7464.1015 |  | 0.37037
18:17 | 188.5 | 39 | 40.3448 | 0.99 | 3.5452 | 11310 | 3.6975 |  | -0.93156 | 12140.9483 |  | -0.93156 | 12140.9483 |  | -13.8155
Least square results:
[8 empty] | -5.6349e-05 | 4.1469
[8 empty] | Est T.C. | estd. Intercept
[8 empty] | 17746.4511 | 63.2388
Log est:
[8 empty] | 0.99994 | 63.2388
Doesn't really work because of DC offset of intensity values
Calculate point-by-point, i.e. instantaneous, TC
Regression on the time constant:
[7 empty] | 1.0462 | 449.3025
Try also bodging by adding a DC offset, and an alternative approach
Regression on O'neill time constant:
[7 empty] | -0.0012342 | 4.2421
Conclusion: first approach gives intensity is prop to exp(k t^2), else is a real mess as don't have stable driving force